## Sheet1
GAGE R&R Instructions
1. Select 10 DIFFERENT parts and at least two "appraisers" and one gage
2. RANDOMLY, have appraisers measure each part at least twice
3. Then enter the results of each measurement in Cells C3:L7, C11:L15, C19:L23
4. The template will automatically calculate all of the values based on your data
5. Evaluate your measurement system based on %R&R and make adjustments as required.
Gage Repeatability and Reproducibility
Measurement is one common cause of variation. Gage R&R helps improve measurement systems
If repeatability (EV - Can the same person using the same gauge measure the same thing consistently)
is larger than reproducibility, reasons include:
1. Gage instrument needs maintenance
2. Gage needs to be redesigned
3. Clamping or location needs to be improved
4. Excessive within-part variation
If reproducibility (AV-can two appraisers measure the same thing and get the same result)
is larger than repeatability, reasons include:
1. Operator needs to be better trained in how to use and read gage
2. Calibrations on gage are not clear
3. Fixture required to help operator use gage more consistently
Gage System Acceptability
| % R&R<10% |  | Gage System Okay (Most variation caused by parts, not people or equipment)
% R&R<30% May be acceptable based on importance of application and cost of gage or repair
% R&R>30% Gage system needs improvement
(People and equipment cause over 1/3 of variation)

## Sheet2
GAGE R&R Instructions
1. Select 10 DIFFERENT parts and at least two "appraisers" and one gage
2. RANDOMLY, have appraisers measure each part at least twice
3. Then enter the results of each measurement in Cells C3:L7, C11:L15, C19:L23
4. The template will automatically calculate all of the values based on your data
5. Evaluate your measurement system based on %R&R and make adjustments as required.
Gage Repeatability and Reproducibility
Measurement is one common cause of variation. Gage R&R helps improve measurement systems
If repeatability (EV - Can the same person using the same gauge measure the same thing consistently)
is larger than reproducibility, reasons include:
1. Gage instrument needs maintenance
2. Gage needs to be redesigned
3. Clamping or location needs to be improved
4. Excessive within-part variation
If reproducibility (AV-can two appraisers measure the same thing and get the same result)
is larger than repeatability, reasons include:
1. Operator needs to be better trained in how to use and read gage
2. Calibrations on gage are not clear
3. Fixture required to help operator use gage more consistently
Gage System Acceptability
| % R&R<10% |  | Gage System Okay (Most variation caused by parts, not people or equipment)
% R&R<30% May be acceptable based on importance of application and cost of gage or repair
% R&R>30% Gage system needs improvement
(People and equipment cause over 1/3 of variation)

## Sheet3
GAGE R&R Instructions
1. Select 10 DIFFERENT parts and at least two "appraisers" and one gage
2. RANDOMLY, have appraisers measure each part at least twice
3. Then enter the results of each measurement in Cells C3:L7, C11:L15, C19:L23
4. The template will automatically calculate all of the values based on your data
5. Evaluate your measurement system based on %R&R and make adjustments as required.
Gage Repeatability and Reproducibility
Measurement is one common cause of variation. Gage R&R helps improve measurement systems
If repeatability (EV - Can the same person using the same gauge measure the same thing consistently)
is larger than reproducibility, reasons include:
1. Gage instrument needs maintenance
2. Gage needs to be redesigned
3. Clamping or location needs to be improved
4. Excessive within-part variation
If reproducibility (AV-can two appraisers measure the same thing and get the same result)
is larger than repeatability, reasons include:
1. Operator needs to be better trained in how to use and read gage
2. Calibrations on gage are not clear
3. Fixture required to help operator use gage more consistently
Gage System Acceptability
| % R&R<10% |  | Gage System Okay (Most variation caused by parts, not people or equipment)
% R&R<30% May be acceptable based on importance of application and cost of gage or repair
% R&R>30% Gage system needs improvement
(People and equipment cause over 1/3 of variation)
% R&R<30% May be acceptable based on importance of application and cost of gage or repair
% R&R>30% Gage system needs improvement
(People and equipment cause over 1/3 of variation)